## Sheet1
| INTERNATIONAL BUILDING CODE AMENDMENTS (IPMC 2012 - IPMC 2015 -IPMC 2018) |  | ADDITION/DELETION/MODIFICATION/CLARIFICATION
ADMINISTRATION | CHAPTER 1
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
101.2 | SCOPE | MODIFICATION | ADDED AUTHORIZED AGENT FOR RESPONSIBILTY OF PREMISES
102.2 | MAINTENANCE | MODIFICATION | ADDED AUTHORIZED AGENT FOR RESPONSIBILTY OF PREMISES
102.3 | APPLICATION OF OTHER CODES | MODIFICATION | ADDED REFERENCE TO "INTERNATIONAL EXISTING BUILDING CODE"
103.4 | LIABILITY | MODIFICATION | ADDED "CIVILLY OR CRIMINALLY"
103.4.1 | LEGAL DEFENSE | MODIFICATION | AMMENDED SEC. 103.4 TO BE TWO CODE SECTIONS
104.3 | RIGHT OF ENTRY | MODIFICATION | ADDED AUTHORIZED AGENT FOR RESPONSIBILTY OF PREMISES
105.1 | MODIFICATIONS | MODIFICATION | ADDED AUTHORIZED AGENT FOR RESPONSIBILTY OF PREMISES
105.2 | ALTERNATIVE MATERIALS, DESIGN AND METHODS | ADDITION | ADDED SENTENCE FOR WHAT TO DO WHEN CONSTRUCTION IS NOT APPROVED
105.2 | ALTERNATIVE MATERIALS, DESIGN AND METHODS | CLARIFICATION | REVISED DEFINITIONS AND NEW REQUIREMENTS FOR ALT. MAT. DESIGN AND METHODS
107.2 | FORM | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
107.6 | TRANSFER OF OWNERSHIP | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
108.2 | CLOSING OF VACANT STRUCTURES | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
108.2.1 | AUTHORITY TO DISCONNECT SERVICE UTILITIES | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
108.3 | NOTICE | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
108.6 | ABATEMENT METHODS | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
109.5 | COSTS OF EMERGENCY REPAIRS | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
110.1 | GENERAL | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
110.3 | FAILURE TO COMPLY | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
112.2 | ISSUANCE | MODIFICATION | ADDED OWNER'S AUTHORIZED AGENT
DEFINITIONS | CHAPTER 2
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
202 | GENERAL DEFINITIONS (APPROVED) | MODIFICATION | CHANGED DEF. FROM "APPROVED TO ACCEPTABLE"
202 | GENERAL DEFINITIONS (COST OF SUCH DEMOLITION OR EMERGENCY REPAIRS) | ADDITION | ADDED DEF OF "COST OF SUCH DEMOLITION OR EMERGENCY REPAIR"
202 | GENERAL DEFINITIONS (HISTORIC BUILDING) | ADDITION | ADDED DEF OF "HISTORIC BUILDING"
202 | GENERAL DEFINITIONS (INFESTATION) | MODIFICATION | ADDED "RODENTS"
202 | GENERAL DEFINITIONS (LABELED) | MODIFICATION | CHANGED "INSPECTION AGENCY TO APPROVED AGENCY"
202 | GENERAL DEFINITIONS (PUBLIC WAY) | CLARIF/ADD | CLARIFY "UNOBSTRUCTED" ; ADDED CLEAR WIDTH AND HIGHT OF 10 FEET
202 | GENERAL DEFINITIONS (STRUCTURE) | MODIFICATION | REMOVED "OR A PORTION THEREOF"
GENERAL REQUIREMENTS CHAPTER 3
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
NO CHANGES IN CHAPTER 3 FROM 2012 TO 2018
LIGHT, VENTILATION, AND OCCUPANCY LIMITATIONS CHAPTER 4
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
NO CHANGES IN CHAPTER 4 FROM 2012 TO 2018
PLUMBING FACILITIES AND FIXTURE REQUIREMENTS CHAPTER 5
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
505.5 | NONPOTABLE WATER REUSE SYSTEMS | ADDITION | ADDED NEW CODE SECTION 505.5
505.5.1 | ABANDONMENT OF SYSTEMS | ADDITION | ADDED NEW CODE SECTION 505.5.1
MECHANICAL AND ELECTRICAL REQUIREMENTS CHAPTER 6
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
603.1 | MECHANICAL EQUIPMENT AND APPLIANCES | MODIFICATION | CHANGED SECTION HEADING TO "MECHANICAL EQUIPMENT AND APPLIANCES
FIRE SAFETY REQUIREMENTS
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
703.1 | FIRE-RESISTANCE-RATED ASSEMBLIES | MODIFICATION | MAINTAINING INTEGRITY OF REQUIRED FIRE RATED ASSEMBLIES
703.2 | UNSAFE CONDITIONS | ADDITION | MAINTAINING FIRE RESISTANT COMPONENTS TO ORIGINAL LEVEL OF SAFETY
703.3 | MAINTENANCE | ADDITION | OWNER REQUIREMENTS FOR MAINTENANCE OF FIRE RATED COMPONENTS AND ASSEMBLIES
703.3.1 | FIRE BLOCKING AND DRAFT STOPPING | ADDITION | MAINTENANCE REQUIREMENTS FOR FIREBLOCKING
703.3.2 | SMOKE BARRIERS AND SMOKE PARTITIONS | ADDITION | MAINTENANCE REQUIREMENTS FOR SMOKE BARRIERS
703.3.3 | FIRE WALL, FIRE BARRIERS, AND FIRE PARTITIONS | ADDITION | MAINTENANCE REQUIREMENTS FOR FIRE WALLS
703.4 | OPENING PROTECTIVES | MODIFICATION | 2018 IPMC RE-WRITE AND RE-NUMBER OF CODE SECTION 703.2 TO 703.4
703.4.1 | SIGNS | ADDITION | SIGNAGE REQUIREMENTS FOR FIRE RATED DOORS
703.4.2 | HOLD-OPEN DEVICES AND CLOSERS | ADDITION | MAINTENANCE REQUIREMENTS FOR FIRE RATED DOOR DEVICES
703.4.3 | DOOR OPERATION | ADDITION | MAINTAINING FIRE DOOR SWING REQUIREMENTS
703.5 | CEILINGS | ADDITION | MAINTAINING ACOUSTICAL CEILINGS THAT ARE PART OF A FIRE RATED SYSTEM
703.6 | TESTING | ADDITION | FIRE DOOR TESTING REQUIREMENTS
703.7 | VERTICAL SHAFTS | ADDITION | FIRE PROTECTION REQUIREMENTS FOR VERTICAL SHAFTS
703.8 | OPENING PROTECTIVE CLOSERS | ADDITION | MAINTAINING SELF CLOSING OPENINGS
704.1 | INSPECTION, TESTING AND MAINTENANCE | ADDITION | REQUIREMENTS FOR FIRE DETECTION, ALARMS AND EXTINGUISHING SYSTEMS
704.1.1 | INSTALLATION | ADDITION | FIRE PROTECTION SYSTEM INSTALLATION REQUIREMENTS
704.1.2 | FIRE DEPARTMENT CONNECTION | ADDITION | 2015 IPMC ADDED NEW CODE SECTION 704.1.2 ELIMINATED IN 2018 IPMC
704.1.2 | REQUIRED FIRE PROTECTION SYSTEMS | ADDITION | REFERENCE TO IFC AND IBC CODES FOR FIRE PROTECTION SYSTEMS
704.1.3 | FIRE PROTECTION SYSTEMS | ADDITION | FIRE PROTECTION SYSTEMS REQUIRING INSPECTION AND MAINTENANCE
704.2 | SINGLE- AND MULTIPLE-STATION SMOKE ALARMS | ADDITION | 2015 IPMC ADDED NEW CODE SECTION 704.2 ELIMINATED IN 2018 IPMC
704.2 | STANDARDS | ADDITION | FIRE PROTECTION SYSTEM MAINTENANCE STANDARDS
704.2.1 | WHERE REQUIRED | ADDITION | 2015 IPMC ADDED NEW CODE SECTION 704.2.1 ELIMINATED IN 2018 IPMC
704.2.1 | RECORDS | ADDITION | FIRE SYSTEM RECORD REQUIREMENTS
704.2.1.1 | GROUP R-1 | DELETION | ELIMINATED IN 2018 IPMC
704.2.1.2 | GROUPS R-2, R-3, R-4 AND I-1 | DELETION | ELIMINATED IN 2018 IPMC
704.2.1.3 | INSTALLATION NEAR COOKING APPLIANCES | DELETION | ELIMINATED IN 2018 IPMC
704.2.1.4 | INSTALLATION NEAR BATHROOMS | DELETION | ELIMINATED IN 2018 IPMC
704.2.2 | INTERCONNECTION | DELETION | ELIMINATED IN 2018 IPMC
704.2.2 | RECORDS INFORMATION | ADDITION | FIRE SYSTEM RECORD REQUIREMENTS
704.2.3 | POWER SOURCE | DELETION | ELIMINATED IN 2018 IPMC
704.2.4 | SMOKE DETECTION SYSTEM | DELETION | ELIMINATED IN 2018 IPMC
704.3 | SYSTEM OUT OF SERVICE | ADDITION | FIRE DEPT AND CODE OFFICIAL NOTIFICATION REQUIREMENTS
704.3.1 | EMERGENCY IMPAIRMENTS | ADDITION | EMERGENCY ACTION REQUIREMENTS
704.4 | REMOVAL OF OR TAMPERING WITH EQUIPMENT | ADDITION | UNLAWFUL TAMPERING CODE
704.4.1 | REMOVEAL OF OR TAMPERING WITH APPURTENANCES | ADDITION | UNLAWFUL TAMPERING CODE
704.4.2 | REMOVEAL OF EXISTING OCCUPANT-USE HOSE LINES | ADDITION
704.4.3 | TERMINATION OF MONITORING SERVICE | ADDITION | NOTICE OF TERMINATION REQUIREMENTS
704.5 | FIRE DEPARTMENT CONNECTION | ADDITION | FD CONNECTION REQUIREMENTS
704.5.1 | FIRE DEPARTMENT CONNECTION ACCESS | ADDITION | FD CONNECTION ACCESS REQUIREMENTS
704.5.2 | CLEAR SPACE AROUND CONNECTIONS | ADDITION | CLEAR SPACE REQUIREMENTS
704.7 | SINGLE- AND MULTIPLE-STATION SMOKE ALARMS | ADDITION | ALARM TESTING AND MAINTENANCE
705.1 & 705.2 | CARBON MONOXIDE ALARMS AND DETECTION | ADDITION | CARBON MONOXIDE ALARMS AND DETECTION REQUIREMENTS
REFERENCED STANDARDS CHAPTER 8
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY
APPENDIX A - BOARDING STANDARD
SECTION NUMBER | SECTION HEADING | AMENDMENT | SUMMARY